## Sheet1
LEASE OFFICE SPACE FOR ETDP SETA : NORTHEN CAPE
ANNEXURE A: INHERENT REQUIREMENTS CHECKLIST
No. | Description | Required | Qty | COMPLY |  | Commitment to compy by date of occupation (Write "COMMIT")
|  |  |  | YES | NO
1 | Provincial Manager's office | - Maximum of 16m² | 1
2 | Skills Advisor's Offices | Maximum of 8m² | 2
3 | Administrator's office | Maximum of 8m² | 1
4 | ETQA Officer's office | Maximum of 8m² | 1
6 | Receptionist area | Maximum of 8m² | 1
7 | Open plan office | - Maximum of 32m² | 1
8 | Registry resource centre / archives | Maximum of 10m² | 1
9 | Parking | - Covered parking bays - 1 designated for person living with disabilities | 11
10 | Server room | - Maximum 10m² - Clean power - Fire proof with minumum 1 hour fire rating - Own temperature controller - Fire suppression | 1
11 | Boardroom | - Maximum 25m² | 1
12 | Kitchen with cupboards and sink | Maximum of 12m² Must be able to accommodate: - Fridge - Microwave | 1
13 | Ablution facilities (male & female) |  | 3
Bidder's Name:
Signature:
Date: